| Checklist Item | Considerations/Notes |
| --- | --- |
| - Power Source Available and Suitable? | Is there a reliable power source nearby? |
| - Network Signal Strength Adequate? | Is WiFi or cellular signal strength sufficient at the location? |
| - Location Easily Accessible? | Is the site easily accessible for installation and future maintenance? |
| - Site Secure? | Is the location reasonably secure from vandalism or theft? |
| - Deployment Location Safe? | Is the deployment safe for the public and compliant with safety regulations? |
| - Permissions Obtained (if needed)? | Have necessary permissions been obtained for deployment on public or private property? |
| - Appropriate Distance from Pollution Sources? | Is the distance from pollution sources appropriate for your monitoring objectives (general air quality vs. source-specific)? |
| - Good Wind Exposure and Airflow? | Does the location have good natural airflow, avoiding stagnant air? |
| - Away from Trees and Vegetation? | Is the location away from trees and dense vegetation to minimize interference? |
| - Away from Reflective Surfaces? | Is the location away from surfaces that radiate heat and might affect temperature readings? |
| - Site Tested and Confirmed? | Have you tested power and connectivity at the site before permanent deployment? |
| - Site Selection Rationale Documented? | Have you documented your reasons for choosing this site, including assessments of practical and environmental factors? |